## Slide 1: Next-gen Sequencing Technologies Bioinformatics Applications (PLPTH813)
Sanzhen Liu
1/26/2023

## Slide 2: Unix commands
cd - change the working directory
mkdir - make directories
pwd - print name of current working directory
ls – list directory contents
chmod - change the access permissions to files and directories
head - output the first part of files
tail - output the last part of files
more and less display contents of large files page by page or scroll line by line up and down
cat - concatenate files
paste - merge lines of files
wc - print line, word, and bytes for each file
grep - print lines matching a pattern

## Slide 3: The sequencing technology is key for a wide range of biological researches

## Slide 4: Sanger sequencing technology - I
Key innovation
Frederick Sanger
Notes: Hydroxide

## Slide 5: Sanger sequencing technology - II
wikipedia
x
Notes: Hydroxide

## Slide 6: Major next-gen sequencing (NGS) technologies
Notes: Jonathan Rothberg (454 + Ion Torrent)

## Slide 7: sequencing sensitivity and read length Before single molecular & "super long" sequencing technologies, fragmentation and amplification/cloning of a single nucleotide molecule are needed for sequencing.

## Slide 8: COMMON in all NGS platforms
The adaptor is required for library preparation
RNA/DNA
Library
Sequencing*
Input
Data
Output
Hundreds to thousands of millions of fragments are sequenced in parallel
Insert
adaptor
adaptor

## Slide 9: Single-molecule and amplification-based approaches
Nucleotide detector: VERY sensitive
Directly read sequence
single-molecule
Nucleotide detector: Not sensitive at the single molecular level
amplify and then read sequence
"Having many thousands of identical copies of a DNA fragment in a defined area ensures that the signal can be distinguished from background noise."

## Slide 10: DNA amplification – Bridge PCR
Nature Biotechnology, 2008, 26: 1135-45
Bridge PCR on slides
(Illumina)
Adaptor ligation

## Slide 11: Sequence reading
Reversible terminator chemistry

## Slide 12: Illumina sequencing

## Slide 13: Illumina Sequencers
NovaSeq

## Slide 14: When the single molecular sequencing technology is ready, amplification or cloning is not necessary.

## Slide 15: PacBio – Single Molecule Real Time (SMRT)
Single molecule sequencing
no amplifications required
up to 70+ kbp sequencing
Moderate sequencing throughput
high sequencing error rate (1-5%, random, no-context-specific errors)
pacbio.com
PacBio tech video

## Slide 16: PacBio library prep workflow

## Slide 17: Less biases (e.g., GC)
Peng et al., BMC Genomics, 2016, 17:21
pacbio
Illumina
Coverage map (depth per region)

## Slide 18: PacBio for genome assembly
PacBio has solved de novo assemblies of most bacterial genomes and it will solve assemblies of small “simple” genomes (e.g., <500 Mbp) with increasing read length and improved sequencing quality.

## Slide 19
Scientific Data, 2020, 7:399
HiFi PacBio data
Up to 25 kb with
~99% accuracy

## Slide 20: Oxford Nanopore A promising technology
Single molecular sequencing
No amplifications
Long reads (typically 10-200kb)
Error rate is high (~1-10%)
As each nucleobase passes through the pore the current is affected and this change allows sequence to be read out.
Notes: 10

## Slide 21: Nanopore devices
MinION
USB disposable sequencer
~10Gb in about two days
PromethlON
High-throughput
lower cost (<$1000 per human genome)
portable device:
MinION Mk1C

## Slide 22: Applications of Nanopore sequencing
1. Genomic DNA sequencing
2. RNA sequencing (direct RNA or cDNA)
3. DNA methylation and other modifications
Nature Methods, 2017, 14:347–348

## Slide 23: Nanopore library preparation
nanopore.com

## Slide 24: COMMON in all NGS platforms
Adaptor is required for library preparation
RNA/DNA
DNA Library
Sequencing
Input
Data
Output
Thousands to hundreds of millions of fragments are sequenced in parallel
Standard data (FASTQ) are output

## Slide 25: Sequence errors and read lengths
PacBio
(InDel)
Illumina
(substitution)
Nanopore
(InDel)
Sanger
HIGH
LOW
Sequencing Error
PacBio-HiFi
Read length

## Slide 26: Applications of NGS
Whole-genome sequencing/re-sequencing / target-region sequencing (Assembly, Variant discovery)
Genome-reduction sequencing (GBS, RAD-Seq)
RNA-seq: differential expression, alternative splicing and variant discovery
Small RNA-seq
ChIP-Seq: Elucidate DNA-protein interaction
Metagenomics
Others
Notes: chromatin immunoprecipitation (ChIP)

## Slide 27
Finished genomes can be generated using Nanopore data

## Slide 28: Case study
De novo assembly of a strain of E.coli
Human whole genome sequencing for SNP discovery
Which platform(s)?
Sequencing depth?

## Slide 29: Sequence platforms
Illumina (MiSeq, NextSeq, HiSeq, NovaSeq)
very high throughput, up to 2x300 bp, and high accuracy (<1%)
PacBio
Moderate sequencing throughput, very long (>70kb+), relatively high errors (1-5%)
PacBio HiFi
~15 kb, <1% error
Nanopore
Moderate sequencing throughput, very long (could be >1 Mb), errors (1-10%)
@anne_churchland (twitter)

## Slide 30: Experimental design
Goal
Platform
Read length
Rate and type of sequence errors
Sequencing depth
Replication
Control
Budget
Platform | Templates | Signal | Read length | Run time | reads per run | Error type | Error rate
Illumina Miseq | PCR or PCR-free | fluorescent | up to 2x300 | 1-2 days | Up to 10 Gb | substitutions | ~0.1-1%
Illumina Hiseq | PCR or PCR-free | fluorescent | up to 2x250 | days | Hundreds of Gb | substitutions | ~0.1-1%
PacBio (hifi) | Amplification not required | fluorescent | ~10,000 | 30min | 500 Mb – 1 Gb | InDel | <1%
Nanopore | Amplification not required | Electronic flow change | >10,000 | hours | >5Gb per MinION | InDel | 1-10%

## Slide 31: COMMON in all NGS platforms
Adaptor is required for library preparation
RNA/DNA
DNA Library
Sequencing
Input
Data
Output
Thousands to hundreds of millions of fragments are sequenced in parallel
Standard data (FASTQ) are output

## Slide 32: Illumina platforms and terminologies Illumina video
Library preparation
Sequencing lane
Index (barcode)
Single-ends and paired ends
Read length

## Slide 33: Illumina library preparation (TruSeq)
Final product
a.
From TruSeq Manual
b.
Y-adaptor
Fragmentation
End-repair
A-tailing
PCR or PCR-free

## Slide 34: Multiplexing (DNA barcode/Index)
• Data from a lane are more than needed in many cases
• Multiplexing: To put multiple samples in a lane via using DNA barcodes to distinguish samples
flowcell
lane

## Slide 35: Barcode / Index
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
sample 1
sample 2

## Slide 36: Single-end sequencing
A single read is generated for each template/cluster
Insert size
typically 200-500 bp
“Read” could be 36-300 bp

## Slide 37: Paired-end sequencing
Two reads are generated for each template cluster;
the 1st is from one end with one primer;
the 2nd is for the other end with the other primer.
Fix size
Read 1
Read 2

## Slide 38: Summary
NGS platforms
Pro and con of each platform
Approaches for library preparation