## Slide 1: Next-gen Sequencing Technologies Bioinformatics Applications (PLPTH813)
Sanzhen Liu
1/28/2025

## Slide 2: The sequencing technology is key for a wide range of biological researches

## Slide 3: Sanger sequencing technology - I
Key innovation
Frederick Sanger
Notes: Hydroxide

## Slide 4: Sanger sequencing technology - II
wikipedia
x
Notes: Hydroxide

## Slide 5: Next-gen sequencing (NGS) technologies
Satam et al., 2023, Biology, 12(7):997
Illumina
Notes: Jonathan Rothberg (454 + Ion Torrent)

## Slide 6: Major next-gen sequencing (NGS) technologies
Notes: Jonathan Rothberg (454 + Ion Torrent)

## Slide 7: Highly sensitive and nonstop reading Before single molecular & "super long" sequencing technologies, fragmentation and amplification/cloning of a single nucleotide molecule are needed for sequencing.
Ideal sequencing technologies

## Slide 8: COMMON in all NGS platforms
The adaptor is required for library preparation
RNA/DNA
Library
Sequencing*
Input
Data
Output
Hundreds to thousands of millions of DNA fragments are sequenced in parallel
Insert
adaptor
adaptor

## Slide 9: Single-molecule and amplification-based approaches
Nucleotide detector: VERY sensitive
Directly read sequence
single-molecule
Nucleotide detector: Not sensitive at the single molecular level
amplify and then read sequence
"Having many thousands of identical copies of a DNA fragment in a defined area ensures that the signal can be distinguished from background noise."
Nature Biotechnology, 2008, 26: 1135-45

## Slide 10: DNA amplification – Bridge PCR
Nature Biotechnology, 2008, 26: 1135-45
Bridge PCR on slides
(Illumina)
Adaptor ligation

## Slide 11: Reversible terminator chemistry
Chen et al., 2013, Genomics Proteomics Bioinformatics, 11:34–40.
Sanger
Illumina
wikipedia
3’A C T 5’
dyeT*
T
dyeG*
T
G
dyeA*
dyeT*
dyeG*
dyeA*
dyeC*
Notes: Hydroxyl group

## Slide 12: Sequence reading
Reversible terminator chemistry

## Slide 13: Illumina sequencing

## Slide 14: Illumina Sequencers
NovaSeq
MiSeq i100 video

## Slide 15: When the single molecular sequencing technology is ready, amplification or cloning is not necessary.

## Slide 16: PacBio library prep workflow
SMRTbell adaptor

## Slide 17
PacBio HiFi video
PacBio – Single Molecule Real Time (SMRT)
Up to 25 kb with
>99% accuracy

## Slide 18: Less biases (e.g., GC content)
Peng et al., BMC Genomics, 2016, 17:21
pacbio
Illumina
Coverage map (depth per region)

## Slide 19: Early-generation PacBio for genome assembly
PacBio has solved de novo assemblies of most bacterial genomes and it will solve assemblies of small “simple” genomes (e.g., <500 Mbp) with increasing read length and improved sequencing quality.

## Slide 20: Oxford Nanopore A promising technology
Single molecular sequencing
No amplifications
Long reads (typically 10-200kb)
Error rate is high (~1-10%)
As each nucleobase passes through the pore the current is affected and this change allows sequence to be read out.
Notes: 10

## Slide 21: Nanopore devices
MinION
USB disposable sequencer
~10Gb in about two days
PromethlON
High-throughput
lower cost (<$1000 per human genome)
portable device:
MinION Mk1C

## Slide 22: Applications of Nanopore sequencing
1. Genomic DNA sequencing
2. RNA sequencing (direct RNA or cDNA)
3. DNA methylation and other modifications
Nature Methods, 2017, 14:347–348

## Slide 23: Nanopore library preparation
nanopore.com

## Slide 24: COMMON in all NGS platforms
Adaptor is required for library preparation
RNA/DNA
DNA Library
Sequencing
Input
Data
Output
Thousands to hundreds of millions of fragments are sequenced in parallel
Standard data (e.g., FASTQ) are output

## Slide 25: Sequence errors and read lengths
Sanger
Illumina
(substitution)
Nanopore
(InDel)
LOW
HIGH
Sequencing Error
PacBio-HiFi
Read length

## Slide 26
Finished genomes can be generated using Nanopore data

## Slide 27: Case study
De novo assembly of a strain of E.coli
Human whole genome sequencing for SNP discovery
Which platform(s)?
Sequencing depth?

## Slide 28: Sequence platforms
Illumina (MiSeq, HiSeq, NovaSeq)
very high throughput, up to 2x300 bp, and high accuracy (<1%)
PacBio HiFi
Up to 25 kb, <1% error
Nanopore
Moderate sequencing throughput, very long (could be >1 Mb), errors (1-10%)
@anne_churchland (twitter)
No longer true

## Slide 29: Experimental design
Goal
Platform
Read length
Rate and type of sequence errors
Sequencing depth
Replication
Biological control
Budget
Platform | Templates | Signal | Read length | Run time | reads per run | Error type | Error rate
Illumina Miseq | PCR or PCR-free | fluorescent | up to 2x300 | 1-2 days | Up to 10 Gb | substitutions | ~0.1-1%
Illumina Hiseq | PCR or PCR-free | fluorescent | up to 2x250 | days | Hundreds of Gb | substitutions | ~0.1-1%
PacBio (HiFi) | Amplification not required | fluorescent | ~10,000 | 30min | 500 Mb – 1 Gb | InDel | <1%
Nanopore | Amplification not required | Electronic flow change | >10,000 | hours | >5Gb per MinION | InDel | 1-10%

## Slide 30: Illumina platforms and terminologies Illumina video
Library preparation
Sequencing lane
Index (barcode)
Single-ends and paired ends
Read length

## Slide 31: Illumina library preparation (TruSeq)
Final product
a.
From TruSeq Manual
b.
Y-adaptor
Fragmentation
End-repair
A-tailing
PCR or PCR-free

## Slide 32: Multiplexing (DNA barcode/Index)
• Data from a lane are more than needed in many cases
• Multiplexing: To put multiple samples in a lane via using DNA barcodes to distinguish samples
flowcell
lane
Illumina HiSeq4000
1500 Gb
Up to 400 million reads

## Slide 33: Barcode / Index
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
sample 1
sample 2

## Slide 34: Single-end sequencing
A single read is generated for each template/cluster
Insert size
typically 200-500 bp
“Read” could be 36-300 bp

## Slide 35: Paired-end sequencing
Two reads are generated for each template cluster.
The 1st is from one end with one primer.
The 2nd is for the other end with the other primer.
Fix size
Read 1
Read 2

## Slide 36: Summary
NGS platforms
Pro and con of each platform
Approaches for library preparation