## Slide 1: Next-gen Sequencing Technologies Bioinformatics Applications (PLPTH813)
Sanzhen Liu
1/28/2025

## Slide 2: Unix commands
cd - change the working directory
mkdir - make directories
pwd - print name of current working directory
ls – list directory contents
chmod - change the access permissions to files and directories
head - output the first part of files
tail - output the last part of files
more and less display contents of large files page by page or scroll line by line up and down
cat - concatenate files
paste - merge lines of files
wc - print line, word, and bytes for each file
grep - print lines matching a pattern

## Slide 3: The sequencing technology is key for a wide range of biological researches

## Slide 4: Sanger sequencing technology - I
Key innovation
Frederick Sanger
Notes: Hydroxide

## Slide 5: Sanger sequencing technology - II
wikipedia
x
Notes: Hydroxide

## Slide 6: Next-gen sequencing (NGS) technologies
Satam et al., 2023, Biology, 12(7):997
Notes: Jonathan Rothberg (454 + Ion Torrent)

## Slide 7: Major next-gen sequencing (NGS) technologies
Notes: Jonathan Rothberg (454 + Ion Torrent)

## Slide 8: sequencing sensitivity and read length Before single molecular & "super long" sequencing technologies, fragmentation and amplification/cloning of a single nucleotide molecule are needed for sequencing.
The ideal sequencing technology

## Slide 9: COMMON in all NGS platforms
The adaptor is required for library preparation
RNA/DNA
Library
Sequencing*
Input
Data
Output
Hundreds to thousands of millions of DNA fragments are sequenced in parallel
Insert
adaptor
adaptor

## Slide 10: Single-molecule and amplification-based approaches
Nucleotide detector: VERY sensitive
Directly read sequence
single-molecule
Nucleotide detector: Not sensitive at the single molecular level
amplify and then read sequence
"Having many thousands of identical copies of a DNA fragment in a defined area ensures that the signal can be distinguished from background noise."

## Slide 11: DNA amplification – Bridge PCR
Nature Biotechnology, 2008, 26: 1135-45
Bridge PCR on slides
(Illumina)
Adaptor ligation

## Slide 12: Reversible terminator chemistry
Chen et al., 2013, Genomics Proteomics Bioinformatics, 11:34–40.
Sanger
Illumina
wikipedia
3’A C T 5’
dyeT*
T
dyeG*
T
G
dyeA*
dyeT*
dyeG*
dyeA*
dyeC*
Notes: Hydroxyl group

## Slide 13: Sequence reading
Reversible terminator chemistry

## Slide 14: Illumina sequencing

## Slide 15: Illumina Sequencers
NovaSeq
MiSeq i100 video

## Slide 16: When the single molecular sequencing technology is ready, amplification or cloning is not necessary.

## Slide 17: PacBio – Single Molecule Real Time (SMRT)
Single molecule sequencing
no amplifications required
up to 70+ kbp sequencing
Moderate sequencing throughput
high sequencing error rate (1-5%, random, no-context-specific errors)
pacbio.com
PacBio HiFi video

## Slide 18: PacBio library prep workflow
SMRTbell adaptor

## Slide 19
PacBio HiFi video
PacBio – Single Molecule Real Time (SMRT)
Up to 25 kb with
>99% accuracy

## Slide 20: Early-generation PacBio for genome assembly
PacBio has solved de novo assemblies of most bacterial genomes and it will solve assemblies of small “simple” genomes (e.g., <500 Mbp) with increasing read length and improved sequencing quality.

## Slide 21: Less biases (e.g., GC content)
Peng et al., BMC Genomics, 2016, 17:21
pacbio
Illumina
Coverage map (depth per region)

## Slide 22: Oxford Nanopore A promising technology
Single molecular sequencing
No amplifications
Long reads (typically 10-200kb)
Error rate is high (~1-10%)
As each nucleobase passes through the pore the current is affected and this change allows sequence to be read out.
Notes: 10

## Slide 23: Nanopore devices
MinION
USB disposable sequencer
~10Gb in about two days
PromethlON
High-throughput
lower cost (<$1000 per human genome)
portable device:
MinION Mk1C

## Slide 24: Applications of Nanopore sequencing
1. Genomic DNA sequencing
2. RNA sequencing (direct RNA or cDNA)
3. DNA methylation and other modifications
Nature Methods, 2017, 14:347–348

## Slide 25: Nanopore library preparation
nanopore.com

## Slide 26: COMMON in all NGS platforms
Adaptor is required for library preparation
RNA/DNA
DNA Library
Sequencing
Input
Data
Output
Thousands to hundreds of millions of fragments are sequenced in parallel
Standard data (FASTQ) are output

## Slide 27: Sequence errors and read lengths
Sanger
Illumina
(substitution)
Nanopore
(InDel)
LOW
HIGH
Sequencing Error
PacBio-HiFi
Read length

## Slide 28
Finished genomes can be generated using Nanopore data

## Slide 29: Case study
De novo assembly of a strain of E.coli
Human whole genome sequencing for SNP discovery
Which platform(s)?
Sequencing depth?

## Slide 30: Sequence platforms
Illumina (MiSeq, HiSeq, NovaSeq)
very high throughput, up to 2x300 bp, and high accuracy (<1%)
PacBio HiFi
Up to 25 kb, <1% error
Nanopore
Moderate sequencing throughput, very long (could be >1 Mb), errors (1-10%)
@anne_churchland (twitter)
No longer true

## Slide 31: Experimental design
Goal
Platform
Read length
Rate and type of sequence errors
Sequencing depth
Replication
Biological control
Budget
Platform | Templates | Signal | Read length | Run time | reads per run | Error type | Error rate
Illumina Miseq | PCR or PCR-free | fluorescent | up to 2x300 | 1-2 days | Up to 10 Gb | substitutions | ~0.1-1%
Illumina Hiseq | PCR or PCR-free | fluorescent | up to 2x250 | days | Hundreds of Gb | substitutions | ~0.1-1%
PacBio (HiFi) | Amplification not required | fluorescent | ~10,000 | 30min | 500 Mb – 1 Gb | InDel | <1%
Nanopore | Amplification not required | Electronic flow change | >10,000 | hours | >5Gb per MinION | InDel | 1-10%

## Slide 32: Illumina platforms and terminologies Illumina video
Library preparation
Sequencing lane
Index (barcode)
Single-ends and paired ends
Read length

## Slide 33: Illumina library preparation (TruSeq)
Final product
a.
From TruSeq Manual
b.
Y-adaptor
Fragmentation
End-repair
A-tailing
PCR or PCR-free

## Slide 34: Multiplexing (DNA barcode/Index)
• Data from a lane are more than needed in many cases
• Multiplexing: To put multiple samples in a lane via using DNA barcodes to distinguish samples
flowcell
lane
Illumina HiSeq4000
1500 Gb
Up to 400 million reads

## Slide 35: Barcode / Index
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
AGTGCAxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
CATGTCxxxxxxxxxxxx
sample 1
sample 2

## Slide 36: Single-end sequencing
A single read is generated for each template/cluster
Insert size
typically 200-500 bp
“Read” could be 36-300 bp

## Slide 37: Paired-end sequencing
Two reads are generated for each template cluster.
The 1st is from one end with one primer.
The 2nd is for the other end with the other primer.
Fix size
Read 1
Read 2

## Slide 38: Summary
NGS platforms
Pro and con of each platform
Approaches for library preparation